## N-150 protocol
Name of the person, who filled this form |  | Please, fill in all grey cells - if posible.
Laboratory name or identification * |  | * marked data will be stated in the certificate (otherwise "not stated").
Date of arrival of the dosemeters
Date of dispatch back of the dosemeters
Date of irradiations * |  | You can also report several dates or a range of dates (it is recommended to perform the irradiations of a radiation quality within a day).
Names of persons who performed the irradiations (*) |  | (*) marked data will only be stated in the certificate if agreed.
Do you want and allow that these names are stated in the certificate? (*) |  | A "yes" means these persons have agreed that their names are stated in the certificate.
Radiation quality * | N-150
Facility name or identification *
Setting of tube voltage (kV)
Setting of tube current (mA)
Inherent filtration (mm Be)
or inherent filtration (mm Al)
Additional filtration (mm Al and mm Sn)
First half value layer HVL (mm Al or mm Cu) *
Standardized radiation field *
H*(10) conversion coefficient (Sv/Gy) * |  | write "not applicable" in case of direct H*(10) measurements
Irradiation distance (mm) * |  | In case of different values for your irradiation, please report the average value.
Irradiation time (seconds) * |  | In case of different values for your irradiation, please report the average value.
Build-up plate in front of the dosemeters (not recommended for x-ray)
Air temperature (°C) |  | Ambient conditions during irradiation.
Air pressure (hPa=mbar) |  | Ambient conditions during irradiation.
Air relative humidity ( %) |  | Ambient conditions during irradiation.
Number of dosemeters irradiated at the same time * (1 dosemeter recommended at a time for x-ray) |  | In case of different values for your irradiation, please report the most used value.
Relative uncertainty of irradiated doses (%) * (relative in % with k=1, i.e. 68 % confidence) |  | Only % values are allowed (recommended with 1 decimal place).
Traceablility is to this standards laboratory
Dosemeter number * (dosemeters should be taken by chance and not in order) | Irradiation status | Irradiated dose (mSv) * (recommended with 2 decimal places)
Photo of the irradiation setup provided? |  | The photo must be provided in a separate file (it is recommended to make additional photos of all irradiations with dosemeter IDs visible.)
Test or calibration report number - if a report is provided (*) |  | The test or calibration report must be provided in a separate file. The report number can only be stated in the certificate if the report is provided.
Do you want and allow that this number is stated in the certificate? (*)
Comments
Comments
Comments